## itemMaster-22-02-2021-part-2
id | Code | Name | Description | Unit | Brand | Sub_Group | Item_Group
2175 | LAHC11259 | BSB 225 CM |  | Nos | OEM |  | FAN
2176 | LCCR06504 | C Channel – 100mm |  | Kgs | OEM |  | Steel
2177 | LCCR06505 | C Channel – 150mm |  | Kgs | OEM |  | Steel
2178 | LAHC49103 | GI Louver |  | Square Meters | OEM |  | Steel
2179 | LAHC49104 | Aluminum Louver |  | Square Meters | OEM |  | Steel
2180 | LAHS7000 | Work In Progress Materials (Sheet, Al & Insulation) |  | Nos | LUFTEK |  | AHU
2181 | LCCC16910 | Fin Press Evaporative Oil | YBI Belpress Pre-99i | Ltrs | OEM |  | CONSUMABLES
2182 | LCCC16911 | Hydraulic Oil - 32 Grade | YBI BelHydro - YHB32 | Ltrs | OEM |  | CONSUMABLES
2183 | LCCC16912 | Liquimux 723N |  | Kgs | OEM |  | CONSUMABLES
2184 | LCCC16913 | Silmux G Powder |  | Kgs | OEM |  | CONSUMABLES
2185 | LCCC16914 | Silmux T Paste |  | Kgs | OEM |  | CONSUMABLES
2186 | LAHC49103 | Jet Nozzle |  | Nos | OEM |  | DAMPER
2187 | LAHC11002 | KAT 8/8 S KRUGER MAKE |  | Nos | KRUGER |  | FAN
2188 | LAHR06251 | 12.7mm OD with 0.36 mm Wall Thickness Plain Tube Seamless LWC Copper | C12200 / O50 Light Annealed Complyng to ASTM Standard B68M | Kgs | OEM |  | RAW MATERIAL
2189 | LAHR06252 | 12.7mm OD with 0.5 mm Wall Thickness Plain Tube Seamless LWC Copper | C12200 / O50 Light Annealed Complyng to ASTM Standard B68M | Kgs | OEM |  | RAW MATERIAL
2190 | LAHR06253 | 12.7mm OD with 0.7 mm Wall Thickness Plain Tube Seamless Copper | C12200 / O50 Light Annealed Complyng to ASTM Standard B68M | Kgs | OEM |  | RAW MATERIAL
2191 | LAHR06254 | 9.52mm OD with 0.27mm Wall thickness Internally grooved Seamless tube LWC Copper: Groove Height-0.16mm | C12200 / O50 Light Annealed Complyng to ASTM Standard B68M | Kgs | OEM |  | RAW MATERIAL
2192 | LAHR06255 | 9.52mm OD with 0.7mm Wall thickness Plain Seamless tube LWC Copper | C12200 / O50 Light Annealed Complyng to ASTM Standard B68M | Kgs | OEM |  | RAW MATERIAL
2193 | LAHC14513 | BAG FILTER EU5 GRADE - 592 MM (W) x 287 MM (H) x 150MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2194 | LAHC14514 | BAG FILTER EU5 GRADE - 592 MM (W) x 592 MM (H) x 150MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2195 | LAHE15107 | Potentiometer Controller |  | Nos | OEM |  | ELECTRICAL
2196 | LAHC14515 | PRE FILTER GRADE EU4 - 750 MM (W) x 950 MM (H) x 100MM (D) |  | Nos | OEM | PRE FILTER | FILTER
2197 | LAHC14516 | HDPE MESH FILTER - 750 MM (W) x 1000 MM (H) x 100MM (D) |  | Nos | OEM | MESH FILTER | FILTER
2198 | LAHR05251 | 5/8 Inlet x 6 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2199 | LAHR05252 | 5/8 Inlet x 8 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2200 | LAHR05253 | 5/8 Inlet x 9 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2201 | LAHR05254 | 7/8 Inlet x 10 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2202 | LAHR05255 | 7/8 Inlet x 12 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2203 | LAHR05256 | 7/8 Inlet x 14 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2204 | LAHR05257 | 7/8 Inlet x 16 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2205 | LAHR05258 | 7/8 Inlet x 18 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2206 | LAHR05259 | 7/8 Inlet x 20 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2207 | LAHR17201 | 7/8 Inches Copper Elbow |  | Nos | OEM |  | COPPER ITEMS
2208 | LAHR17202 | 3/8 Inches Copper Elbow |  | Nos | OEM |  | COPPER ITEMS
2209 | LAHR17203 | 1 1/8 Inches Copper Elbow |  | Nos | OEM |  | COPPER ITEMS
2210 | LAHR17204 | 1 3/8 Inches Copper Elbow |  | Nos | OEM |  | COPPER ITEMS
2211 | LAHR17205 | 5/8 Copper T Joint |  | Nos | OEM |  | COPPER ITEMS
2212 | LAHR17206 | 3/4 Copper T Joint |  | Nos | OEM |  | COPPER ITEMS
2213 | LAHR17207 | 7/8 Copper T Joint |  | Nos | OEM |  | COPPER ITEMS
2214 | LAHR17208 | 1 1/8 Copper T Joint |  | Nos | OEM |  | COPPER ITEMS
2215 | LAHR17209 | 1 3/8 Copper T Joint |  | Nos | OEM |  | COPPER ITEMS
2216 | LAHR17210 | 1 5/8 Copper T Joint |  | Nos | OEM |  | COPPER ITEMS
2217 | LAHR17211 | 5/8 x 1/2 Inch Copper Reducer |  | Nos | OEM |  | COPPER ITEMS
2218 | LAHR17212 | 7/8 x 5/8 Inch Copper Reducer |  | Nos | OEM |  | COPPER ITEMS
2219 | LAHR17213 | 1 1/8 x 7/8 Inch Copper Reducer |  | Nos | OEM |  | COPPER ITEMS
2220 | LAHR17214 | 1 3/8 x 7/8 Inch Copper Reducer |  | Nos | OEM |  | COPPER ITEMS
2221 | LAHR17215 | 1/2 Inch Copper S Bend 0.5mm Thick | 27.5mm Pitch x 55mm Height | Nos | OEM |  | COPPER ITEMS
2222 | LAHR17216 | 1/2 Inch Copper U Bend 0.5mm Thick | 31.75 mm Pitch x 25mm Height | Nos | OEM |  | COPPER ITEMS
2223 | LAHR17217 | 1/2 Inch Copper C Bend 0.5mm Thick | 55 mm Pitch x 25mm Height | Nos | OEM |  | COPPER ITEMS
2224 | LAHC11260 | GR40C-ZID.DC.CR |  | Nos | Ziehl Abegg |  | FAN
2225 | LAHC11261 | GR56C-ZID.GG.CR |  | Nos | Ziehl Abegg |  | FAN
2226 | LAHC23904 | ALUMINIUM FIN STOCK - 0.12mm Thick - 274mm Width for 3/8 (PLAIN) |  | Kgs | OEM |  | ALUMINIUM PARTS
2227 | LAHC23905 | HYDROPHILIC COATED ALUMINIUM FIN STOCK - 0.12mm Thick - 274mm Width for 3/8 |  | Kgs | OEM |  | ALUMINIUM PARTS
2228 | LAHR06501 | 1 inch Seamless MS Pipe |  | Meters | OEM |  | MS Pipe
2229 | LAHR06502 | 1 1/2 inch Seamless MS Pipe |  | Meters | OEM |  | MS Pipe
2230 | LAHR06503 | 2 inch Seamless MS Pipe |  | Meters | OEM |  | MS Pipe
2231 | LAHR06504 | 2 1/2 inch Seamless MS Pipe |  | Meters | OEM |  | MS Pipe
2232 | LAHR06505 | 3 inch Seamless MS Pipe |  | Meters | OEM |  | MS Pipe
2233 | LAHR06506 | 3 1/2 inch Seamless MS Pipe |  | Meters | OEM |  | MS Pipe
2234 | LAHR06507 | 4 inch Seamless MS Pipe |  | Meters | OEM |  | MS Pipe
2235 | LAHC11262 | KD2 9/7 750W - 4P |  | Nos | KRUGER |  | FAN
2236 | LCCC16915 | Acetylene Gas Cylinder |  | Nos | OEM |  | CONSUMABLES
2237 | LCCR07008 | SS SHEET 304 GRADE 0.6mm THK |  | Kgs | OEM |  | SS SHEETS
2238 | LAHC14517 | PRE FILTER EU4 GRADE - 500 MM (W) x 400 MM (H) x 48MM (D) |  | Nos | OEM | PRE FILTER | FILTER
2239 | LAHC23720 | BLADE PROFILE - ALUMINUM DAMPER (6149) |  | Meters | OEM |  | ALUMINIUM PROFILES
2240 | LAHC23721 | TOP & BOTTOM PROFILE - ALUMINUM DAMPER (6148) |  | Meters | OEM |  | ALUMINIUM PROFILES
2241 | LAHC23722 | VERTICAL PROFILE - ALUMINUM DAMPER (6150) |  | Meters | OEM |  | ALUMINIUM PROFILES
2242 | LAHC15558 | Cushy Foot Antivibrant |  | Nos | OEM |  | ANTI-VIBRATIONS
2243 | LCCC16931 | Nitrogen Cylinder |  | Nos | OEM |  | CONSUMABLES
2244 | LAHR05260 | 7/8 Inlet x 7 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2245 | LAHR05261 | 7/8 Inlet x 9 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2246 | LAHR05262 | Purge Nipple |  | Nos | OEM |  | BRASS ITEMS
2247 | LAHE15108 | Teflon Tape |  | Nos | OEM |  | ELECTRICAL
2248 | LAHC11263 | KDD 9/7 245W - 4P |  | Nos | KRUGER |  | FAN
2249 | LAHC11264 | RDA 160 R NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2250 | LAHC11265 | RDA 180 R NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2251 | LAHC11266 | RDA 225 R NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2252 | LAHC11267 | RDA 250 R NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2253 | LAHC11268 | RDA 280 R NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2254 | LAHC11269 | RDA 315 R NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2255 | LAHC11270 | RDA 355 R NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2256 | LAHC11271 | RDA 400 R NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2257 | LAHC11272 | RDA 450 R NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2258 | LAHC11273 | RDA 500 R NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2259 | LAHC11274 | RDA 560 R NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2260 | LAHC11275 | RDA 630 R NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2261 | LAHC11276 | RDA 710 R NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2262 | LAHC11277 | RDA 800 K NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2263 | LAHC11278 | RDA 900 K NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2264 | LAHC11279 | RDA 1000 K NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2265 | LAHC11280 | RDA 1120 K NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2266 | LAHC11281 | RDA 1250 K NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2267 | LAHC11282 | RDA 1400 K NICOTRA MAKE |  | Nos | NICOTRA |  | FAN
2268 | LAHR17218 | 1 inch Copper Hard Pipe |  | Meters | OEM |  | COPPER ITEMS
2269 | LAHR17219 | 1 1/2 Inches Copper Hard Pipe |  | Meters | OEM |  | COPPER ITEMS
2270 | LAHR17220 | 2 Inches Copper Hard Pipe |  | Meters | OEM |  | COPPER ITEMS
2271 | LAHR17221 | 2 1/8 Inches Copper Hard Pipe |  | Meters | OEM |  | COPPER ITEMS
2272 | LAHR17222 | 2 1/2 Inches Copper Hard Pipe |  | Meters | OEM |  | COPPER ITEMS
2273 | LAHR17223 | 3 Inches Copper Hard Pipe |  | Meters | OEM |  | COPPER ITEMS
2274 | LAHR17224 | 1/2 Inch Copper End Cap |  | Nos | OEM |  | COPPER ITEMS
2275 | LAHR17225 | 1 Inch Copper End Cap |  | Nos | OEM |  | COPPER ITEMS
2276 | LAHR17226 | 1 1/2 Inches Copper End Cap |  | Nos | OEM |  | COPPER ITEMS
2277 | LAHR17227 | 1 3/8 Inches Copper End Cap |  | Nos | OEM |  | COPPER ITEMS
2278 | LAHR17228 | 1 5/8 Inches Copper End Cap |  | Nos | OEM |  | COPPER ITEMS
2279 | LAHR17229 | 2 Inches Copper End Cap |  | Nos | OEM |  | COPPER ITEMS
2280 | LAHR17230 | 2 1/8 Inches Copper End Cap |  | Nos | OEM |  | COPPER ITEMS
2281 | LAHR17231 | 2 1/2 Inches Copper End Cap |  | Nos | OEM |  | COPPER ITEMS
2282 | LAHR17232 | 3 Inches Copper End Cap |  | Nos | OEM |  | COPPER ITEMS
2283 | LAHR17233 | 76.5mm Copper End Cap |  | Nos | OEM |  | COPPER ITEMS
2284 | LAHC24761 | 13 mm THK Open Cell Nitrile Foam Insulation With Aluminum Foil and Self Adhesive |  | Square Meters | OEM |  | GASKET & INSULATION
2285 | LAHR17234 | 3/8 Inch Copper S Bend 0.45mm Thick | 22mm Pitch x 55mm Height | Nos | OEM |  | COPPER ITEMS
2286 | LAHR17235 | 3/8 Inch Copper U Bend 0.45mm Thick | 25.4 mm Pitch x 25mm Height | Nos | OEM |  | COPPER ITEMS
2287 | LAHR17236 | 3/8 Inch Copper C Bend 0.45mm Thick | 44 mm Pitch x 25mm Height | Nos | OEM |  | COPPER ITEMS
2288 | LAHC23906 | Aluminum Die Cast Unit Connector |  | Nos | OEM |  | ALUMINIUM PARTS
2289 | LAHC23723 | ALUMINUM SECTION JOINT (HALF OMEGA) PROFILE - 50-48 MM SQUARE TBK |  | Meters | OEM |  | ALUMINIUM PROFILES
2290 | LAHC15241 | 50mm TBK - Section Joint 3 Way Corner |  | Nos | OEM |  | PLASTIC PARTS
2291 | LAHR17237 | 5/8 Inches Copper Hard Pipe |  | Meters | OEM |  | COPPER ITEMS
2292 | LAHR17238 | 7/8 Inches Copper Hard Pipe |  | Meters | OEM |  | COPPER ITEMS
2293 | LAHR17239 | 1 1/8 Inches Copper Hard Pipe |  | Meters | OEM |  | COPPER ITEMS
2294 | LAHR17240 | 1 3/8 Inches Copper Hard Pipe |  | Meters | OEM |  | COPPER ITEMS
2295 | LAHR17241 | 1 5/8 Inches Copper Hard Pipe |  | Meters | OEM |  | COPPER ITEMS
2296 | LAHR05263 | 1 1/8 Inlet x 24 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2297 | LAHR05264 | 1 3/8 Inlet x 24 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2298 | LAHR05265 | 1 3/8 Inlet x 42 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2299 | LAHR05266 | 1 5/8 Inlet x 42 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2300 | LAHC11283 | GR45C-ZIK.DC.CR |  | Nos | Ziehl Abegg |  | FAN
2301 | LAHC11284 | GR56C-ZID.GL.CR |  | Nos | Ziehl Abegg |  | FAN
2302 | LAHR05267 | 1 1/8 Inlet x 26 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2303 | LAHR05268 | 1 1/8 Inlet x 28 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2304 | LAHR05269 | 1 1/8 Inlet x 30 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2305 | LAHR05270 | 1 1/8 Inlet x 32 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2306 | LAHR05271 | 1 1/8 Inlet x 34 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2307 | LAHR05272 | 1 1/8 Inlet x 36 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2308 | LAHR05273 | 1 1/8 Inlet x 38 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2309 | LAHR05274 | 1 1/8 Inlet x 40 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2310 | LAHC24762 | EPDM SPONGE RUBBER GASKET 15MM x 4MM THK WITH ONE SIDE SELF ADHESIVE |  | Meters | OEM |  | GASKET & INSULATION
2311 | LAHC24763 | EPDM SPONGE RUBBER GASKET 15MM x 5MM THK WITH ONE SIDE SELF ADHESIVE |  | Meters | OEM |  | GASKET & INSULATION
2312 | LAHC11285 | BNC 315 CM KRUGER MAKE |  | Nos | KRUGER |  | FAN
2313 | LAHC11286 | BNC 355 CM KRUGER MAKE |  | Nos | KRUGER |  | FAN
2314 | LAHC11287 | BNC 400 CM KRUGER MAKE |  | Nos | KRUGER |  | FAN
2315 | LAHC11288 | BNC 450 CM KRUGER MAKE |  | Nos | KRUGER |  | FAN
2316 | LAHC11289 | BNC 500 CM KRUGER MAKE |  | Nos | KRUGER |  | FAN
2317 | LAHC11290 | BNC 560 CM KRUGER MAKE |  | Nos | KRUGER |  | FAN
2318 | LAHC11291 | BNC 630 CM KRUGER MAKE |  | Nos | KRUGER |  | FAN
2319 | LAHC11292 | BNC 710 CM KRUGER MAKE |  | Nos | KRUGER |  | FAN
2320 | LAHC11293 | BNC 800 CM KRUGER MAKE |  | Nos | KRUGER |  | FAN
2321 | LAHC11294 | BNC 900 CM KRUGER MAKE |  | Nos | KRUGER |  | FAN
2322 | LAHC11295 | BNC 1000 CM KRUGER MAKE |  | Nos | KRUGER |  | FAN
2323 | LAHC11296 | BNC 1120 CM KRUGER MAKE |  | Nos | KRUGER |  | FAN
2324 | LAHC11297 | BNC 1250 CM KRUGER MAKE |  | Nos | KRUGER |  | FAN
2325 | LAHC11298 | ER40C-2DN G71R |  | Nos | Ziehl Abegg |  | FAN
2326 | LAHC15242 | DAMPER LEFT PLATE - N61 |  | Nos | OEM |  | PLASTIC PARTS
2327 | LAHC15243 | DAMPER RIGHT PLATE - N60 |  | Nos | OEM |  | PLASTIC PARTS
2328 | LAHC15244 | DAMPER ROUND BUSH - N63 |  | Nos | OEM |  | PLASTIC PARTS
2329 | LAHC15245 | DAMPER - H - BUSH - N62 |  | Nos | OEM |  | PLASTIC PARTS
2330 | LAHC15246 | DAMPER GEAR - N59 |  | Nos | OEM |  | PLASTIC PARTS
2331 | LAHC15247 | DAMPER STOPPER STICK - N66 |  | Nos | OEM |  | PLASTIC PARTS
2332 | LAHC15248 | DAMPER HANDLE - N64 |  | Nos | OEM |  | PLASTIC PARTS
2333 | LAHC15249 | DAMPER HANDLE PLATE - N65 |  | Nos | OEM |  | PLASTIC PARTS
2334 | LAHC24764 | DAMPER BLADE GASKET - R1 |  | Meters | OEM |  | GASKET & INSULATION
2335 | LAHC23907 | DAMPER SQUARE ROD |  | Nos | OEM |  | ALUMINIUM PARTS
2336 | LCCH30518 | Wing Nut - (N 82) |  | Nos | OEM |  | FASTENERS
2337 | LCCH30519 | GI M6 x 80 Truss Head Bolt |  | Nos | OEM |  | FASTENERS
2338 | LAHR06256 | 1/4 inch OD with 0.7mm Wall thickness Plain Seamless tube LWC Copper | C12200 / O50 Light Annealed Complyng to ASTM Standard B68M | Kgs | OEM |  | RAW MATERIAL
2339 | LAHC14518 | COMMISSIONING FILTER 595 MM (W) x 595 MM (H) x 48MM (D) |  | Nos | OEM | COMMISSIONING FILTER | FILTER
2340 | LAHC14519 | COMMISSIONING FILTER 595 MM (W) x 494 MM (H) x 48MM (D) |  | Nos | OEM | COMMISSIONING FILTER | FILTER
2341 | LAHC14520 | COMMISSIONING FILTER 595 MM (W) x 290 MM (H) x 48MM (D) |  | Nos | OEM | COMMISSIONING FILTER | FILTER
2342 | LAHC14521 | COMMISSIONING FILTER 494 MM (W) x 595 MM (H) x 48MM (D) |  | Nos | OEM | COMMISSIONING FILTER | FILTER
2343 | LAHC14522 | COMMISSIONING FILTER 290 MM (W) x 595 MM (H) x 48MM (D) |  | Nos | OEM | COMMISSIONING FILTER | FILTER
2344 | LAHC14523 | COMMISSIONING FILTER 494 MM (W) x 494 MM (H) x 48MM (D) |  | Nos | OEM | COMMISSIONING FILTER | FILTER
2345 | LAHC14524 | COMMISSIONING FILTER 290 MM (W) x 494 MM (H) x 48MM (D) |  | Nos | OEM | COMMISSIONING FILTER | FILTER
2346 | LAHC14525 | COMMISSIONING FILTER 290 MM (W) x 290 MM (H) x 48MM (D) |  | Nos | OEM | COMMISSIONING FILTER | FILTER
2347 | LAHC11299 | ER31C-2DN D71R |  | Nos | Ziehl Abegg |  | FAN
2348 | LAHR05275 | 1 3/8 Inlet x 44 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2349 | LAHR05276 | 1 3/8 Inlet x 46 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2350 | LAHR05277 | 1 3/8 Inlet x 48 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2351 | LAHE15109 | Magnahelic Differential Pressure Gauge |  | Nos | OEM |  | Switch
2352 | LAHE15110 | Inclined Tube Manometer |  | Nos | OEM |  | Switch
2353 | LAHC24765 | 25mm THK OPEN CELL NITRILE FOAM INSULATION WITH ONE SIDE SELF ADHESIVE |  | Nos | OEM |  | GASKET & INSULATION
2354 | LAHR05278 | 3 1/8 Inches Copper End Cap |  | Nos | OEM |  | BRASS ITEMS
2355 | LAHC11300 | ER63C-4DN G71R |  | Nos | Ziehl Abegg |  | FAN
2356 | LAHC11301 | GR35C.ZID.DC.CR |  | Nos | Ziehl Abegg |  | FAN
2357 | LAHC11302 | GR50C.ZID.GG.CR |  | Nos | Ziehl Abegg |  | FAN
2358 | LAHC14526 | ACTIVATED CARBON FILTER - 290 MM (W) x 595 MM (H) x 48MM (D) |  | Nos | OEM | CARBON FILTER | FILTER
2359 | LAHC14527 | ACTIVATED CARBON FILTER - 595 MM (W) x 290 MM (H) x 48MM (D) |  | Nos | OEM | CARBON FILTER | FILTER
2360 | LCCE27021 | CG 5.5 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 4 POLE FOOT MOUNTED-IE3 |  | Nos | CG |  | MOTOR
2361 | LCCE27022 | CG 5.5 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 2 POLE FOOT MOUNTED-IE3 |  | Nos | CG |  | MOTOR
2362 | LCCE27023 | CG 3.7 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 4 POLE FOOT MOUNTED-IE3 |  | Nos | CG |  | MOTOR
2363 | LAHR05279 | 1 1/8 Inlet x 22 Way Brass Refrigerant Distributor |  | Nos | OEM |  | BRASS ITEMS
2364 | LAHC14528 | PRE FILTER (FLANGE TYPE) EU3 GRADE - 610 MM (W) x 610 MM (H) x 150MM (D) |  | Nos | OEM | PRE FILTER | FILTER
2365 | LAHC14529 | PRE FILTER (FLANGE TYPE) EU3 GRADE - 610 MM (W) x 305 MM (H) x 150MM (D) |  | Nos | OEM | PRE FILTER | FILTER
2366 | LAHC14530 | PRE FILTER (FLANGE TYPE) EU3 GRADE - 305 MM (W) x 305 MM (H) x 150MM (D) |  | Nos | OEM | PRE FILTER | FILTER
2367 | LAHC14531 | CARBON FILTER (FLANGE TYPE) - 610 MM (W) x 610 MM (H) x 100 MM (D) |  | Nos | OEM | CARBON FILTER | FILTER
2368 | LCCM47010 | General Spares |  | Nos | OEM |  | Hardware
2369 | LCCM47011 | Miscellaneous Consumable Item |  | Nos | OEM |  | Hardware
2370 | LAHC23908 | HYDROPHILIC COATED ALUMINIUM FIN STOCK - 0.12mm Thick - 230mm Width |  | Kgs | OEM |  | ALUMINIUM PARTS
2371 | LAHC11303 | GR31C-ZID.DC.CR |  | Nos | Ziehl Abegg |  | FAN
2372 | LAHC15250 | DOOR HINGE - N 90 x 70 PS |  | Nos | OEM |  | PLASTIC PARTS
2373 | LAHC11304 | 140 x 160 FCU Fan with Housing |  | Nos | OEM |  | FAN
2374 | LAHC11305 | 160 x 200 FCU Fan with Housing |  | Nos | OEM |  | FAN
2375 | LAHC11306 | 180 x 190 FCU Fan with Housing |  | Nos | OEM |  | FAN
2376 | LCCE27024 | 1/10 HP SINGLE PHASE 6 POLE MOTOR - WITH CAPACITIOR |  | Nos | CG |  | MOTOR
2377 | LAHR05280 | 3 WAY TENTACLES FOR FCU LEFT SIDE |  | Nos | OEM |  | BRASS ITEMS
2378 | LAHR05281 | 3 WAY TENTACLES FOR FCU RIGHT SIDE |  | Nos | OEM |  | BRASS ITEMS
2379 | LAHR05282 | BRASS AIRVENT |  | Nos | OEM |  | BRASS ITEMS
2380 | LAHR05283 | BRASS DRAIN PLUG |  | Nos | OEM |  | BRASS ITEMS
2381 | LAHC24766 | ROCKWOOL INSULATION 50MM THICK 96KG/M3 |  | Square Meters | OEM |  | GASKET & INSULATION
2382 | LAHC11307 | 550mm DIA AXIAL FAN - 4 POLE - 3 PH |  | Nos | OEM |  | FAN
2383 | LAHC11308 | 630mm DIA AXIAL FAN - 4 POLE - 3 PH |  | Nos | OEM |  | FAN
2384 | LAHC11309 | GR56CZID.GQ.CR |  | Nos | OEM |  | FAN
2385 | LCCR07531 | GI sheet 3mm THK 120 GSM | 3 | Kgs | OEM | AHU CASING | G.I / COATED SHEETS
2386 | LAHC14532 | ACTIVATED CARBON FILTER - 595 MM (W) x 494 MM (H) x 48MM (D) |  | Nos | OEM | CARBON FILTER | FILTER
2387 | LAHC14533 | ACTIVATED CARBON FILTER - 494 MM (W) x 595 MM (H) x 48MM (D) |  | Nos | OEM | CARBON FILTER | FILTER
2388 | LCCC12868 | 80 x 1A |  | Nos | OEM | PULLEY | PULLEYS/BEARINGS
2389 | LCCC12869 | 85x 1A |  | Nos | OEM | PULLEY | PULLEYS/BEARINGS
2390 | LCCC12870 | 90x 1A |  | Nos | OEM | PULLEY | PULLEYS/BEARINGS
2391 | LCCC12871 | 106x 1A |  | Nos | OEM | PULLEY | PULLEYS/BEARINGS
2392 | LCCC12872 | 112x 1A |  | Nos | OEM | PULLEY | PULLEYS/BEARINGS
2393 | LCCC12873 | 118x 1A |  | Nos | OEM | PULLEY | PULLEYS/BEARINGS
2394 | LCCC12874 | 125x 1A |  | Nos | OEM | PULLEY | PULLEYS/BEARINGS
2395 | LCCC12875 | 132x 1A |  | Nos | OEM | PULLEY | PULLEYS/BEARINGS
2396 | LCCC12876 | 140x 1A |  | Nos | OEM | PULLEY | PULLEYS/BEARINGS
2397 | LCCC12877 | 150x 1A |  | Nos | OEM | PULLEY | PULLEYS/BEARINGS
2398 | LCCC12878 | 160x 1A |  | Nos | OEM | PULLEY | PULLEYS/BEARINGS
2399 | LCCC12879 | 180x 1A |  | Nos | OEM | PULLEY | PULLEYS/BEARINGS
2400 | LCCC12880 | 200x 1A |  | Nos | OEM | PULLEY | PULLEYS/BEARINGS
2401 | LCCC12881 | 250x 1A |  | Nos | OEM | PULLEY | PULLEYS/BEARINGS
2402 | LAHC24767 | ACOUSTIC INSULATION |  | Square Meters | OEM |  | GASKET & INSULATION
2403 | LCCC16986 | LIQUID ADHESIVE |  | Ltrs | OEM |  | CONSUMABLES
2404 | LAHC11310 | ER40C-2DNF7.1R |  | Nos | OEM |  | FAN
2405 | LAHC14534 | MINI PLEAT FINE FILTER EU7 - 595 MM (W) x 595 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2406 | LAHC14535 | MINI PLEAT FINE FILTER EU7- 595 MM (W) x 494 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2407 | LAHC14536 | MINI PLEAT FINE FILTER EU7- 494 MM (W) x 595 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2408 | LAHC14537 | MINI PLEAT FINE FILTER EU7- 595 MM (W) x 290 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2409 | LAHC14538 | MINI PLEAT FINE FILTER EU7- 290 MM (W) x 595 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2410 | LAHC14539 | RIGID FILTER EU5 GRADE - 610 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2411 | LAHC14540 | RIGID FILTER EU5 GRADE -610 MM (W) x 510 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2412 | LAHC14541 | RIGID FILTER EU5 GRADE - 510 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2413 | LAHC14542 | RIGID FILTER EU5 GRADE - 305 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2414 | LAHC14543 | RIGID FILTER EU5 GRADE - 610 MM (W) x 305 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2415 | LAHC14439 | RIGID FILTER EU6 GRADE - 610 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2416 | LAHC14544 | RIGID FILTER EU6 GRADE -610 MM (W) x 510 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2417 | LAHC14545 | RIGID FILTER EU6 GRADE - 510 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2418 | LAHC14546 | RIGID FILTER EU6 GRADE - 305 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2419 | LAHC14547 | RIGID FILTER EU6 GRADE - 610 MM (W) x 305 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2420 | LAHC14548 | RIGID FILTER EU7 GRADE - 610 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2421 | LAHC14549 | RIGID FILTER EU7 GRADE -610 MM (W) x 510 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2422 | LAHC14550 | RIGID FILTER EU7 GRADE - 510 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2423 | LAHC14551 | RIGID FILTER EU7 GRADE - 305 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2424 | LAHC14552 | RIGID FILTER EU7 GRADE - 610 MM (W) x 305 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2425 | LAHC14553 | RIGID FILTER EU9 GRADE - 610 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2426 | LAHC14554 | RIGID FILTER EU9 GRADE -610 MM (W) x 510 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2427 | LAHC14555 | RIGID FILTER EU9 GRADE - 510 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2428 | LAHC14556 | RIGID FILTER EU9 GRADE - 305 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2429 | LAHC14557 | RIGID FILTER EU9 GRADE - 610 MM (W) x 305 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2430 | LAHC14558 | BAG FILTER EU5 GRADE - 610 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2431 | LAHC14559 | BAG FILTER EU5 GRADE -610 MM (W) x 510 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2432 | LAHC14560 | BAG FILTER EU5 GRADE - 510 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2433 | LAHC14561 | BAG FILTER EU5 GRADE - 305 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2434 | LAHC14562 | BAG FILTER EU5 GRADE - 610 MM (W) x 305 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2435 | LAHC14563 | BAG FILTER EU6 GRADE - 610 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2436 | LAHC14564 | BAG FILTER EU6 GRADE -610 MM (W) x 510 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2437 | LAHC14565 | BAG FILTER EU6 GRADE - 510 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2438 | LAHC14566 | BAG FILTER EU6 GRADE - 305 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2439 | LAHC14567 | BAG FILTER EU6 GRADE - 610 MM (W) x 305 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2440 | LAHC14568 | BAG FILTER EU7 GRADE - 610 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2441 | LAHC14569 | BAG FILTER EU7 GRADE -610 MM (W) x 510 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2442 | LAHC14570 | BAG FILTER EU7 GRADE - 510 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2443 | LAHC14571 | BAG FILTER EU7 GRADE - 305 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2444 | LAHC14572 | BAG FILTER EU7 GRADE - 610 MM (W) x 305 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2445 | LAHC14573 | BAG FILTER EU9 GRADE - 610 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2446 | LAHC14574 | BAG FILTER EU9 GRADE -610 MM (W) x 510 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2447 | LAHC14575 | BAG FILTER EU9 GRADE - 510 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2448 | LAHC14576 | BAG FILTER EU9 GRADE - 305 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2449 | LAHC14577 | BAG FILTER EU9 GRADE - 610 MM (W) x 305 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2450 | LCCR07009 | SS SHEET 316 GRADE 1.6mm THK |  | Kgs | OEM |  | SS SHEETS
2451 | LAHC11311 | ER80C-4DN.K7.1R |  | Nos | OEM |  | FAN
2452 | LAHC14578 | ACTIVATED CARBON FILTER - 595 MM (W) x 494 MM (H) x 100MM (D) |  | Nos | OEM | CARBON FILTER | FILTER
2453 | LAHC14579 | ACTIVATED CARBON FILTER - 595 MM (W) x 595 MM (H) x 100MM (D) |  | Nos | OEM | CARBON FILTER | FILTER
2454 | LAHC14580 | ACTIVATED CARBON FILTER - 290 MM (W) x 595 MM (H) x 100MM (D) |  | Nos | OEM | CARBON FILTER | FILTER
2455 | LAHC14581 | ACTIVATED CARBON FILTER - 595 MM (W) x 290 MM (H) x 100MM (D) |  | Nos | OEM | CARBON FILTER | FILTER
2456 | LAHC14582 | ACTIVATED CARBON FILTER - 494 MM (W) x 595 MM (H) x 100MM (D) |  | Nos | OEM | CARBON FILTER | FILTER
2457 | LAHC11312 | 140 x 190 FCU Fan with Housing |  | Nos | OEM |  | FAN
2458 | LCCR07532 | M.S Perforated Sheet |  | Kgs | OEM |  | G.I / COATED SHEETS
2459 | LCCR07533 | GI Perforated Sheet |  | Kgs | OEM |  | G.I / COATED SHEETS
2460 | LAHC11313 | RLM E6-2831 -315 Dia Plug Fan |  | Nos | OEM |  | FAN
2461 | LAHM48624 | GAS / LIQUID IN STICKER |  | Nos | OEM |  | NAME PLATE/STICKER/LABELS
2462 | LAHM48625 | GAS OUT STICKER |  | Nos | OEM |  | NAME PLATE/STICKER/LABELS
2463 | LAHM48626 | "U" TRAP STICKER |  | Nos | OEM |  | NAME PLATE/STICKER/LABELS
2464 | LAHR17242 | 2 1/2 Inches Copper Elbow |  | Nos | OEM |  | COPPER ITEMS
2465 | LCCM48528 | 5 Ply Corrugated Box 380mm (W) x 350mm (D) x 216mm(H) |  | Nos | OEM |  | PACKING
2466 | LAHR05284 | 1 Inch Brass Threaded Adaptor |  | Nos | OEM |  | BRASS ITEMS
2467 | LAHR05285 | 1 1/2 Inches Brass Threaded Adaptor |  | Nos | OEM |  | BRASS ITEMS
2468 | LAHR05286 | 2 Inches Brass Threaded Adaptor |  | Nos | OEM |  | BRASS ITEMS
2469 | LAHR05287 | 2 1/2 Inches Brass Threaded Adaptor |  | Nos | OEM |  | BRASS ITEMS
2470 | LAHR05288 | 3 Inches Brass Threaded Adaptor |  | Nos | OEM |  | BRASS ITEMS
2471 | LAHC24768 | NITRILE RUBBER ELASTOMERIC SELF ADHESIVE TAPE | 50mm Width with Self Adhesive | Meters | OEM |  | GASKET & INSULATION
2472 | LAHC11314 | GR35C.ZID.DG.CR |  | Nos | OEM |  | FAN
2473 | LAHC11315 | GR50C.ZID.GL.CR |  | Nos | OEM |  | FAN
2474 | LAHC11316 | K3G500-PB24-03 - EBM MAKE |  | Nos | EBM |  | FAN
2475 | LCCC14935 | Non Return Valve - 2 Inches |  | Nos | OEM |  | VALVE
2476 | LCCC14936 | Butterfly Valve - 2 Inches |  | Nos | OEM |  | VALVE
2477 | LCCC14937 | 3 Way Motorized Valve with Actuator - 1 1/2 Inches |  | Nos | OEM |  | VALVE
2478 | LCCE27025 | ABB 1.5 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 2 POLE FOOT MOUNTED-IE2 |  | Nos | ABB |  | MOTOR
2479 | LCCE27026 | ABB 2.2 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 2 POLE FOOT MOUNTED-IE2 |  | Nos | ABB |  | MOTOR
2480 | LCCE27027 | ABB 3.7 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 2 POLE FOOT MOUNTED-IE2 |  | Nos | ABB |  | MOTOR
2481 | LCCE27028 | ABB 5.5 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 2 POLE FOOT MOUNTED-IE2 |  | Nos | ABB |  | MOTOR
2482 | LCCE27029 | ABB 1.5 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 4 POLE FOOT MOUNTED-IE2 |  | Nos | ABB |  | MOTOR
2483 | LCCE27030 | ABB 2.2 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 4 POLE FOOT MOUNTED-IE2 |  | Nos | ABB |  | MOTOR
2484 | LCCE27031 | ABB 3.7 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 4 POLE FOOT MOUNTED-IE2 |  | Nos | ABB |  | MOTOR
2485 | LCCE27032 | ABB 5.5 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 4 POLE FOOT MOUNTED-IE2 |  | Nos | ABB |  | MOTOR
2486 | LAHC14583 | PRE FILTER EU4 GRADE - 570 MM (W) x 960 MM (H) x 48MM (D) |  | Nos | OEM | PRE FILTER | FILTER
2487 | LAHC14584 | FINE FILTER EU7 GRADE - 570 MM (W) x 960 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2488 | LAHC14585 | PRE FILTER EU4 GRADE - 400 MM (W) x 150 MM (H) x 25MM (D) |  | Nos | OEM | PRE FILTER | FILTER
2489 | LAHC14586 | FINE FILTER EU7 GRADE - 610 MM (W) x 610 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2490 | LAHC14587 | MINI PLEAT HEPA FILTER H14 GRADE - 610 MM (W) x 610 MM (H) x 69MM (D) |  | Nos | OEM | HEPA FILTER | FILTER
2491 | LAHC11317 | K3G250-RR02-I2 - EBM MAKE |  | Nos | EBM |  | FAN
2492 | LCCR07010 | SS SHEET 304 GRADE 3.0mm THK |  | Kgs | OEM |  | SS SHEETS
2493 | LCCE27033 | CG 5.5 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 2 POLE FOOT MOUNTED-IE2 |  | Nos | CG |  | MOTOR
2494 | LAHC24402 | HA0600-1200-060-2EOO-2-0-0-1200 - Cross Flow PHE |  | Nos | OEM |  | HEAT RECOVERY WHEEL
2495 | LAHC24403 | HA0850-1400-080-2EOO-2-2-0-1400 - Cross Flow PHE |  | Nos | OEM |  | HEAT RECOVERY WHEEL
2496 | LAHC14588 | RIGID FILTER EU7 GRADE - 355 MM (W) x 355 MM (H) x 300MM (D) |  | Nos | OEM | RIGID FILTER | FILTER
2497 | LAHC14589 | ACTIVATED CARBON FILTER - 350 MM (W) x 550 MM (H) x 150MM (D) |  | Nos | OEM | CARBON FILTER | FILTER
2498 | LAHC14590 | ACTIVATED CARBON FILTER - 440 MM (W) x 520 MM (H) x 150MM (D) |  | Nos | OEM | CARBON FILTER | FILTER
2499 | LAHC14591 | PRE FILTER EU3 GRADE- 350 MM (W) x 550 MM (H) x 48MM (D) |  | Nos | OEM | PRE FILTER | FILTER
2500 | LAHC14592 | PRE FILTER EU3 GRADE- 440 MM (W) x 520 MM (H) x 48MM (D) |  | Nos | OEM | PRE FILTER | FILTER
2501 | LAHC11318 | GR25C-6IK.BA.CR |  | Nos | OEM |  | FAN
2502 | LAHC14593 | PRE FILTER EU3 GRADE- 610 MM (W) x 160 MM (H) x 48MM (D) |  | Nos | OEM | PRE FILTER | FILTER
2503 | LAHC14594 | FINE FILTER EU7 GRADE - 450 MM (W) x 450 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2504 | LAHC14595 | MINI PLEAT HEPA FILTER H14 GRADE - 450 MM (W) x 450 MM (H) x 69MM (D) |  | Nos | OEM | HEPA FILTER | FILTER
2505 | LAHC11319 | GR25C-6ID. BD. CR |  | Nos | OEM |  | FAN
2506 | LAHC11320 | GR28C-6ID. BD. CR |  | Nos | OEM |  | FAN
2507 | LAHC11321 | 160 x 190 FCU Fan with Housing |  | Nos | OEM |  | FAN
2508 | LAHC11322 | 200 x190 FCU Fan with Housing |  | Nos | OEM |  | FAN
2509 | LCCE27034 | 1/8 HP SINGLE PHASE 6 POLE MOTOR - WITH CAPACITIOR |  | Nos | OEM |  | MOTOR
2510 | LAHR05289 | FCU Brass Header Adaptor With Air Vent |  | Nos | OEM |  | BRASS ITEMS
2511 | LAHC14596 | Nylon Filter - 172mm(H) x 692mm(W) x 8mm(D) for 1.0 TR ST FCU |  | Nos | OEM | NYLON FILTER | FILTER
2512 | LAHC14597 | Nylon Filter - 172mm(H) x 812mm(W) x 8mm(D) for 1.5 TR ST FCU |  | Nos | OEM | NYLON FILTER | FILTER
2513 | LAHC14598 | Nylon Filter - 202mm(H) x 912mm(W) x 8mm(D) for 2.0 TR ST FCU |  | Nos | OEM | NYLON FILTER | FILTER
2514 | LAHC14599 | Nylon Filter - 302mm(H) x 965mm(W) x 8mm(D) for 2.5 & 3.0 TR ST FCU |  | Nos | OEM | NYLON FILTER | FILTER
2515 | LAHR05290 | FCU Brass Header Adaptor Without Air Vent |  | Nos | OEM |  | BRASS ITEMS
2516 | LCCM48529 | 5 Ply Corrugated Box -FCU ST 1.0TR | 1220mm (L) x 540mm (D) x 265mm(H) | Nos | OEM |  | PACKING
2517 | LCCM48530 | 5 Ply Corrugated Box -FCU ST 1.5TR | 1355mm (L) x 540mm (D) x 265mm(H) | Nos | OEM |  | PACKING
2518 | LCCM48531 | 5 Ply Corrugated Box -FCU ST 2.0TR | 1455mm (L) x 540mm (D) x 265mm(H) | Nos | OEM |  | PACKING
2519 | LCCM48532 | 5 Ply Corrugated Box -FCU ST 2.5 & 3.0 TR | 1510mm (L) x 640mm (D) x 385mm(H) | Nos | OEM |  | PACKING
2520 | LAHC14600 | FINE FILTER EU7 GRADE - 520 MM (W) x 850 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2521 | LAHC14601 | FINE FILTER EU7 GRADE - 570 MM (W) x 850 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2522 | LAHC14602 | FINE FILTER EU7 GRADE - 600 MM (W) x 600 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2523 | LAHC14603 | FINE FILTER EU7 GRADE - 490 MM (W) x 595 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2524 | LAHC14604 | FINE FILTER EU7 GRADE - 600 MM (W) x 500 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2525 | LAHC14605 | FINE FILTER EU7 GRADE - 500 MM (W) x 500 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2526 | LAHC14606 | FINE FILTER EU7 GRADE - 490 MM (W) x 490 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2527 | LAHR17243 | 3/4 Inches Copper Hard Pipe |  | Meters | OEM |  | COPPER ITEMS
2528 | LAHC11323 | GR40C-ZID.DG.CR |  | Nos | OEM |  | FAN
2529 | LAHC11324 | GR45C-ZID.GG.CR |  | Nos | OEM |  | FAN
2530 | LAHC14607 | FINE FILTER EU7 GRADE - 610 MM (W) x 305 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2531 | LAHC14608 | FINE FILTER EU7 GRADE - 305 MM (W) x 610 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2532 | LAHC14609 | FINE FILTER EU7 GRADE - 610 MM (W) x 510 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2533 | LAHC14610 | FINE FILTER EU5 GRADE - 610 MM (W) x 610 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2534 | LAHC14611 | FINE FILTER EU5 GRADE - 610 MM (W) x 305 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2535 | LAHC14612 | FINE FILTER EU5 GRADE - 305 MM (W) x 610 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2536 | LAHC14613 | FINE FILTER EU5 GRADE - 610 MM (W) x 510 MM (H) x 100MM (D) |  | Nos | OEM | FINE FILTER | FILTER
2537 | LAHC14614 | Nylon Pleated Filter - 265mm(H) x 895mm(W) x16mm(D) for 1.0 TR DS FCU |  | Nos | OEM | NYLON FILTER | FILTER
2538 | LAHC14615 | Nylon Pleated Filter - 265mm(H) x 1015mm(W) x16mm(D) for 1.5 TR DS FCU |  | Nos | OEM | NYLON FILTER | FILTER
2539 | LAHC14616 | Nylon Pleated Filter - 265mm(H) x 1115mm(W) x16mm(D) for 2.0 TR DS FCU |  | Nos | OEM | NYLON FILTER | FILTER
2540 | LAHC14617 | Nylon Pleated Filter - 375mm(H) x 1005mm(W) x16mm(D) for 2.5 TR DS FCU |  | Nos | OEM | NYLON FILTER | FILTER
2541 | LAHC14618 | Nylon Pleated Filter - 375mm(H) x 1135mm(W) x16mm(D) for 3.0 TR DS FCU |  | Nos | OEM | NYLON FILTER | FILTER
2542 | LAHC23724 | ALUMINUM CORNER PROFILE - 20-18 MM SQUARE NTBK | Corner Profile (20-18 NTBK) | Meters | OEM |  | ALUMINIUM PROFILES
2543 | LAHC23725 | ALUMINUM CORNER PROFILE - 70 - 50 CHAMFERED TBK | Corner Profile (70-50 TBK) | Meters | OEM |  | ALUMINIUM PROFILES
2544 | LAHC23726 | ALUMINUM OMEGA PROFILE - 70 - 50 CHAMFERED TBK | Omega Profile (70-50 TBK) | Meters | OEM |  | ALUMINIUM PROFILES
2545 | LAHC15251 | 70-50 CHAMFERED TBK - Omega Jointer |  | Nos | OEM |  | PLASTIC PARTS
2546 | LAHC15252 | 70-50 CHAMFERED TBK - 3 Way Corner |  | Nos | OEM |  | PLASTIC PARTS
2547 | LCCE27035 | ABB 1.1 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 2 POLE FOOT MOUNTED-IE2 |  | Nos | ABB |  | MOTOR
2548 | LCCE27036 | CG 1.1 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 2 POLE FOOT MOUNTED-IE2 |  | Nos | OEM |  | MOTOR
2549 | LCCE27037 | CG 2.2 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 2 POLE FOOT MOUNTED-IE2 |  | Nos | OEM |  | MOTOR
2550 | LCCE27038 | CG 11 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 4 POLE FOOT MOUNTED-IE3 |  | Nos | OEM |  | MOTOR
2551 | LCCE27039 | CG 15 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 4 POLE FOOT MOUNTED-IE3 |  | Nos | OEM |  | MOTOR
2552 | LCCE27040 | CG 18.5 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 4 POLE FOOT MOUNTED-IE3 |  | Nos | OEM |  | MOTOR
2553 | LAHC14619 | PRE FILTER EU4 GRADE - 595 MM (W) x 595 MM (H) x 100MM (D) |  | Nos | OEM | PRE FILTER | FILTER
2554 | LAHC14620 | PRE FILTER EU4 GRADE - 595 MM (W) x 595 MM (H) x 100MM (D) |  | Nos | OEM | PRE FILTER | FILTER
2555 | LAHC14621 | PRE FILTER EU4 GRADE - 610 MM (W) x 460 MM (H) x 48MM (D) |  | Nos | OEM | PRE FILTER | FILTER
2556 | LAHC14622 | BAG FILTER EU9 GRADE - 610 MM (W) x 610 MM (H) x 300MM (D) |  | Nos | OEM | BAG FILTER | FILTER
2557 | LAHC11325 | K3G355-PJ75-01 |  | Nos | OEM |  | FAN
2558 | LAHC11326 | GR31I-ZID.DC.CR |  | Nos | OEM |  | FAN
2559 | LAHR06257 | 12.7mm OD with 0.32 mm Wall Thickness Plain Tube Seamless LWC Copper | C12200 / O50 Light Annealed Complyng to ASTM Standard B68M | Kgs | OEM |  | RAW MATERIAL
2560 | LAHC11327 | ER71C-4DN.I7.1R |  | Nos | OEM |  | FAN
2561 | LAHC11328 | BDB 710 XM KRUGER MAKE |  | Nos | OEM |  | FAN
2562 | LAHC11329 | BDB 800 XM KRUGER MAKE |  | Nos | OEM |  | FAN
2563 | LAHC11330 | BDB 900 XM KRUGER MAKE |  | Nos | OEM |  | FAN
2564 | LAHC11331 | BDB 1000 XM KRUGER MAKE |  | Nos | OEM |  | FAN
2565 | LAHC11332 | BDB 1120 XM KRUGER MAKE |  | Nos | OEM |  | FAN
2566 | LCCE27041 | CG 11 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 4 POLE FOOT MOUNTED-IE2 |  | Nos | OEM |  | MOTOR
2567 | LAHC14623 | PRE FILTER EU4 GRADE - 494 MM (W) x 494 MM (H) x 48MM (D) |  | Nos | OEM | PRE FILTER | FILTER
2568 | LCCE27042 | CG 1.5 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 4 POLE FOOT MOUNTED-IE3 |  | Nos | OEM |  | MOTOR
2569 | LCCE27043 | CG 2.2 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 4 POLE FOOT MOUNTED-IE3 |  | Nos | OEM |  | MOTOR
2570 | LCCE27044 | CG 2.2 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 2 POLE FOOT MOUNTED-IE3 |  | Nos | OEM |  | MOTOR
2571 | LCCE27045 | CG 3.7 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 2 POLE FOOT MOUNTED-IE3 |  | Nos | OEM |  | MOTOR
2572 | LCCR07534 | GI sheet 0.5mm THK 120 GSM | 0.5 | Kgs | OEM | AHU CASING | G.I / COATED SHEETS
2573 | LAHC14624 | COMBINATION FILTER EU4 PREFILTER + F7 GRADE FLANGE MINI PLEAT - 610 MM (W) x 610 MM (H) x 150MM (D) |  | Nos | OEM | COMBINATION FILTER | FILTER
2574 | LAHC14625 | COMBINATION FILTER EU4 PREFILTER + F7 GRADE FLANGE MINI PLEAT - 610 MM (W) x 305 MM (H) x 150MM (D) |  | Nos | OEM | COMBINATION FILTER | FILTER
2575 | LAHC14626 | COMBINATION FILTER EU4 PREFILTER + F7 GRADE FLANGE MINI PLEAT - 305 MM (W) x 610 MM (H) x 150MM (D) |  | Nos | OEM | COMBINATION FILTER | FILTER
2576 | LAHC14627 | COMBINATION FILTER EU4 PREFILTER + F7 GRADE FLANGE MINI PLEAT - 610 MM (W) x 510 MM (H) x 150MM (D) |  | Nos | OEM | COMBINATION FILTER | FILTER
2577 | LAHC14628 | COMBINATION FILTER EU4 PREFILTER + F7 GRADE FLANGE MINI PLEAT - 510 MM (W) x 610 MM (H) x 150MM (D) |  | Nos | OEM | COMBINATION FILTER | FILTER
2578 | LAHC14629 | COMBINATION FILTER EU4 PREFILTER + F7 GRADE FLANGE MINI PLEAT - 450 MM (W) x 450 MM (H) x 150MM (D) |  | Nos | OEM | COMBINATION FILTER | FILTER
2579 | LCCE27046 | ABB 9.3 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 4 POLE FOOT MOUNTED-IE2 |  | Nos | OEM |  | MOTOR
2580 | LCCE27047 | ABB 11 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 4 POLE FOOT MOUNTED-IE2 |  | Nos | OEM |  | MOTOR
2581 | LAHE15111 | FLAME PROOF BULK HEAD FITTING |  | Nos | OEM |  | LAMP
2582 | LAHE15112 | FLAME PROOF LIMIT SWITCH |  | Nos | OEM |  | LAMP
2583 | LCCE27048 | CG 9.3 KW 3 PH TEFC-SQCAGE INDUCTION FLAME PROOF MOTOR 4 POLE FOOT MOUNTED-IE2 |  | Nos | OEM |  | MOTOR
2584 | LAHC11333 | K3G560-PB31-03 - EBM MAKE |  | Nos | OEM |  | FAN
2585 | LCCE27049 | 150 Watts SINGLE PHASE PSC MOTOR - WITH CAPACITIOR | 1350 RPM / 2 Speed | Nos | OEM |  | MOTOR
2586 | LCCE27050 | 187 Watts SINGLE PHASE PSC MOTOR - WITH CAPACITIOR | 1100 RPM / 3 Speed | Nos | OEM |  | MOTOR
2587 | LCCE27051 | 370 Watts SINGLE PHASE PSC MOTOR - WITH CAPACITIOR | 1100 RPM / 3 Speed | Nos | OEM |  | MOTOR
2588 | LCCE27052 | 562 Watts SINGLE PHASE PSC MOTOR - WITH CAPACITIOR | 1150 RPM / 4 Speed | Nos | OEM |  | MOTOR