|  |  |  |  |
| --- | --- | --- | --- |
| Customer | Param Designs | Job Ref # | 3020 |
| Project | Power plant | Call Date | 27-02-2021 |
| Attended Date | 06-03-2021 | Completed Date | 12-04-2021 |
| Sales Incharge | Mohan Raj | Service Incharge | Murali R |

|  |  |
| --- | --- |
| **EQUIPMENT DETAILS** | |
| Tag No : | 6000 CFM |
| Serial No. : | H 030 - 250LK |
| Inovice No. : | undefined |

|  |
| --- |
| **Complaint Note:** |
| undefined |

|  |  |  |
| --- | --- | --- |
| **Complaints (undefined)** | | |
| **Complaint** | **Part** | **Note** |
| Air leak through the panel | Casing | undefined |

|  |  |
| --- | --- |
| **Call Resolution** | |
| Complaint Details | Positive side door leak issue |
| Customer Remark | We will organize additional door knobs to rectify the issue shortly. |
| Correction Made | Positive side doors additional knobs are fixed and leakage complaint has been done at site. |